# WV UNDERGROUND STORAGE TANK SYSTEM INSTALLATION/UPGRADE REQUEST

| Tank Owner: |  | Operator Name: |  |
| --- | --- | --- | --- |
| Address: |  | Address: |  |
| City /State/Zip: |  | City/State/Zip: |  |
| Phone(s): |  | Phone(s): |  |
| If land owner is different from tank owner enter name and address (MUST attach copy of lease agreement): |  |
| Class A Worker: |  | Cert. #: |  | Phone: |  |
| Project Manager: |  | Phone: |  | Cell: |  |
| Facility Name: |  | New |  | Existing (enter DEP ID#) |  |
| Physical Address: |  | County: |  | City: |  | Zip: |  |
| GPS Coordinates: |  | Tax District: |  | Map: |  | Parcel: |  |
| Travel Directions: |  |
| Date work to start: |  | # Tanks to be installed: |  | # piping runs: |  | Estimated Total Length of Piping (Ft): |  |
| System upgraded? |  | # of Tanks upgraded: |  | # piping runs: |  | Which piping runs? |  |
| ATTENTION: All new and replaced tanks and/or piping must be secondarily contained. New or replaced dispenser systems must be provided with dispenser pans. All systems installed under these requirements must be monitored monthly, liquid-tight, compatible with the substance conveyed, and be tightness-tested every three years. |
| Tank pit subject to flooding/high water? |  | Anchoring method: |  | Type backfill: |  | Depth Overburden: |  | Observation wells in tank pit? How many? |
| TANK # |  |  |  |  |  |
| Brand |  |  |  |  |  |
| Model |  |  |  |  |  |
| Construction material |  |  |  |  |  |
| Double Walled? (Y/N) |  |  |  |  |  |
| Substance Stored |  |  |  |  |  |
| Total Volume |  |  |  |  |  |
| Vol each Compartment |  |  |  |  |  |
| Dimensions |  |  |  |  |  |
| Type of manifold (Tank, piping, or none) |  |  |  |  |  |
| CP factory or field installed (NA if no CP) |  |  |  |  |  |
| Will all system components be compatible with alternative fuels? If not, which components? |  |
| With which fuels have components been approved for use? |  |
| PIPING | Pressure or Suction? |  |  |  |  |  |
|  | Brand, Model,Diameter |  |  |  |  |  |
|  | Double Walled? (Y/N) |  |  |  |  |  |
|  | Construction material |  |  |  |  |  |
|  | Manifold piping CP? |  |  |  |  |  |

PROPOSED RELEASE DETECTION METHODS (mark all that apply):

|  | Manual Tank Gauging |  | Interstitial Monitoring (type): |  |
| --- | --- | --- | --- | --- |
|  | Tank Tightness with Inventory Controls |  | SIR (Statistical Inventory Reconciliation) |  |
|  |  |  | Vendor: |  |
|  | Automatic Tank Gauging (brand/model): |  |  | Automatic Line Leak Detectors (type): |  |
|  | Vapor Monitoring (requires site assessment) |  | Line Tightness Testing |
|  | Groundwater Monitoring (requires site assessment) |  | Other Approved Method: |  |

SPILL PREVENTION:                                                                                             	  OVERFILL PREVENTION:

|  | Spill Buckets | Other (describe): |  | Fill Shut Off Alarm |  |  |
| --- | --- | --- | --- | --- | --- | --- |

Owner, please sign below:

| Date: |  | Signature: |  | Print Name: |  |
| --- | --- | --- | --- | --- | --- |