Miscellaneous Testing Report Form

The applicable portions of this form must be completed and provided to the facility owner/operator within 30 days of the test date, along with written test procedures, data collection logs, and printouts from test equipment (if applicable).  Facility must keep this page along with pages 2-4 as applicable on record for submittal to the WVDEP upon request.  Each page must identify the facility and contain the technician’s signature.

When pressure/vacuum testing, any loss in pressure/vacuum during the test shall be considered a failed test, regardless of the manufacturer's criteria for declaring a passed test.

| A. Facility Information | WVDEP FACILITY ID#: |
| --- | --- |
| Facility Name: |  | Site Address: |  |
| Facility Contact: |  | Phone: | Date of Testing: |

# B.	Testing Contractor Information

| To the best of my knowledge, the facts stated in this document are accurate and in full compliance with legal requirements. |
| --- |
| Company: | Print Name of Tester: | Certification #: | Tester’s Signature: | Date: |

##### C.	Testing of Spill Buckets	       	 Spill bucket(s) not tested

| Test Method Developed By: | Bucket Manufacturer Industry Standard Other (Specify Method Here): | Test Equipment Used: |
| --- | --- | --- |
| Test Method Used: Pressure Vacuum Hydrostatic Other (Specify): | Equipment Precision: |
|  | Bucket # | Bucket # | Bucket # | Bucket # | Bucket # | Bucket # | Bucket # |
| Bucket depth: |  |  |  |  |  |  |  |
| Wait time between applying pressure/vacuum/water & starting test: |  |  |  |  |  |  |  |
| Test start time: |  |  |  |  |  |  |  |
| Initial reading: |  |  |  |  |  |  |  |
| Test end time: |  |  |  |  |  |  |  |
| Final reading: |  |  |  |  |  |  |  |
| Change in reading: |  |  |  |  |  |  |  |
| Pass/Fail threshold/criteria: |  |  |  |  |  |  |  |
| Test Result: | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail |

D.	Ball Float Verification	   N/A (system has fill shut off or alarm)

|  | Tank # | Tank # | Tank # | Tank # | Tank # | Tank # | ** If “Yes,” Ball floats must be replaced with another type of overfill prevention equipment. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ball float visually verified? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |  |
| Tank top caps/fittings appear air-tight: | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |  |
| **Does system have remote fills? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |  |
| **Is this a suction-piping system? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |  |
| **Product delivered without a tight fill or with pressure drops? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |  |
| Test Result: | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail |  |
| Facility Name: | Location: | Facility ID#: |

E. Testing of Sumps and Under-Dispenser Containment (UDC)	 N/A (No sumps/UDC)

If not using one of the test methods listed below, containment sumps being hydrostatically tested must be filled to at least 6 inches above the highest penetration, fitting or joint and allowed to stand

at least 15 minutes before beginning the test.  The test must last at least one hour.  A liquid level change of 1/8” or more indicates a failure.

| Test Method Developed By: UDC Manufacturer; Industry Standard Other (Specify): | Test Equipment Used: |
| --- | --- |
| Test Method Used: Pressure Vacuum Hydrostatic Other (Specify): | Equipment Precision: |
| Reason for Test: Required Routine 3-year Test Suspected Release Other (Specify): |
| Dispenser #s, product, Tank # | ID: | ID: | ID: | ID: | ID: | ID: | ID: |
| STP/UDC/Other sump | STP UDC OTHER | STP UDC OTHER | STP UDC OTHER | STP UDC OTHER | STP UDC OTHER | STP UDC OTHER | STP UDC OTHER |
| Installed after 6/30/08? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| Sump depth (inches): |  |  |  |  |  |  |  |
| Height from sump bottom to top of highest sump penetration: |  |  |  |  |  |  |  |
| Portion of sump tested. |  |  |  |  |  |  |  |
| Wait time between applying pressure/vacuum/water and starting test | minutes | minutes | minutes | minutes | minutes | minutes | minutes |
| Test start date/time: |  |  |  |  |  |  |  |
| Initial reading: |  |  |  |  |  |  |  |
| Test end date/time: |  |  |  |  |  |  |  |
| Final reading: |  |  |  |  |  |  |  |
| Change in reading: |  |  |  |  |  |  |  |
| Pass/Fail threshold or criteria: |  |  |  |  |  |  |  |
| Test Result: | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail |
| Were sensors properly replaced and verified as functional after testing? | Yes No N/A | Yes No N/A | Yes No N/A | Yes No N/A | Yes No N/A | Yes No N/A | Yes No N/A |
| COMMENTS: |

| Tester Signature: | Date: | Print Name: | Phone: Contact: |
| --- | --- | --- | --- |

| Facility Name: | Location: | Facility ID#: |
| --- | --- | --- |

F.   Testing of Interstitial Spaces	 N/A (No secondary containment)

| Test Method Developed By: Manufacturer Industry Standard Other (Specify): | Test Equipment Used: |
| --- | --- |
| Test Method Used: Pressure Vacuum Hydrostatic Other (Specify): | Equipment Precision: |
| Reason for Test: Required Routine 3-year Test Suspected Release Other (Specify): |
|  | ID: | ID: | ID: | ID: | ID: | ID: | ID: |
| Installed after 6/30/08? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| Tank capacity (gallons): |  |  |  |  |  |  |  |
| Product/Grade stored: |  |  |  |  |  |  |  |
| Tank/Piping | Tank Piping | Tank Piping | Tank Piping | Tank Piping | Tank Piping | Tank Piping | Tank Piping |
| Manufacturer: |  |  |  |  |  |  |  |
| Model: |  |  |  |  |  |  |  |
| Wait time (min.) between applying pressure/vacuum/water & starting test: |  |  |  |  |  |  |  |
| Test start time: |  |  |  |  |  |  |  |
| Initial reading: |  |  |  |  |  |  |  |
| Test end time: |  |  |  |  |  |  |  |
| Final reading: |  |  |  |  |  |  |  |
| Change in reading: |  |  |  |  |  |  |  |
| Pass/Fail threshold or criteria: |  |  |  |  |  |  |  |
| Test Result: | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail | Pass Fail |

| G. Additional Information | 1. Were any secondary containment systems unable to be tested? | 2. Were any repairs made prior to testing? | 3. Is any follow-up action recommended? | 4. Was any cleaning of secondary containment systems done? (describe management of wastewater in "Comments") | 5. Was hydrostatic testing performed? (describe in "Comments" what was done with the water after completion of testing) |
| --- | --- | --- | --- | --- | --- |
| If any answer is “yes,” describe in Comments | Yes; No | Yes; No | Yes; No | Yes; No | Yes; No |
| COMMENTS: |
| Tester Signature: | Date: | Print Name: | Phone: Contact: |

# Footnotes

1.	If the entire depth of the sump is not tested, specify how much was tested.