LOCATION STANDARDS AND RESTRICTIONS CHECKLIST FOR BENEFICIAL USE OF FILTRATE FROM WATER TREATMENT PLANTS

LAND SURFACE	YES	NO

| Land frozen, snow covered, or known to be flooded on a regular basis? If yes, see 33CSR9, Section 5.7.a.1 | YES | NO |
| --- | --- | --- |
| Land within fifty (50) feet of surface water to include streams, springs, ponds, wetlands, or other collection points for surface water? If yes, see 33CSR9, Section 5.7.a.2 | YES | NO |
| Land within two hundred (200) feet of drinking water supply wells or other private water supply? | YES | NO |
| Land within fifty (50) feet of an occupied dwelling? | YES | NO |
| Land within twenty (20) feet of a federal or state highway? If yes, see 33CSR9, Section 5.7.a.5 | YES | NO |
| Land drainage leads into a sinkhole? | YES | NO |
| Land has a slope of greater than 15%? | YES | NO |
| Land has a seasonal high groundwater table less than 3 feet from the surface? | YES | NO |
| Will application of filtrate likely have an adverse affect on a threatened or endangered species or its designated critical habitat? | YES | NO |
| Has there been a precipitation event measured at more than 0.25 inches in the previous 24 hours or the expectation that a precipitation event of a like magnitude will occur with 24 hours after application? | YES | NO |

LAND SUBSURFACE	YES	NO

| Land within two hundred (200) feet of drinking water supply wells or other private water supply? | YES | NO |
| --- | --- | --- |
| Land drainage leads into a sinkhole? | YES | NO |
| Land has a seasonal high groundwater table less than 3 feet from the surface? | YES | NO |
| Will application of filtrate likely have an adverse affect on a threatened or endangered species or its designated critical habitat? | YES | NO |

LAND APPLICATION SITE LOCATION STANDARDS AND RESTRICTIONS

| Land within one hundred (100) feet of an adjacent property owner’s property line? If yes, see 33CSR9, Section 5.8.h.1 | YES | NO |
| --- | --- | --- |
| Land within one hundred (100) feet of a vertical rock outcrop? If yes, see 33CSR9, Section 5.8.h.3 | YES | NO |

Approval __________________________		Date_______________________

DEP Inspector, County Extension Agent,

WVU Extension Specialist, or County Sanitarian